## Sheet1
Sample Name | Vial | Action | Notes | Sample wt | Total vol
Blank2 | 15 |  | GENERAL NOTE: Used the calibration curve from 1/30/2024 STD_0-50ppmNPOC 2, 3, 4, 5, 6, 7, 8, 9, 10 Labeled at 0-10PPM in the instrument curve file name. Slope: 3.457, Int: 0.1588, R2: 1.0000, 0.25ppm and 0.5ppm pt had shouldering but peak areas and rest of curve looked good so retained points
TMP_5.A.4_EXP | 16 | dilution correction |  | 230 | 7
TMP_100.C.5_EXP | 17 | dilution correction |  | 230 | 7
TMP_0.B.6_EXP | 18 | dilution correction |  | 230 | 7
TMP_5.A.6_EXP | 19 | dilution correction |  | 230 | 7
TMP_0.C.4_EXP | 20 | dilution correction |  | 230 | 7
TMP_5.C.4_EXP | 21 | dilution correction |  | 230 | 7
TMP_100.B.5_EXP | 22 | dilution correction |  | 230 | 7
TMP_0.A.6_EXP | 23 | dilution correction |  | 230 | 7
TMP_5.C.6_EXP | 24 | dilution correction |  | 230 | 7
TMP_0.A.4_EXP | 25 | dilution correction |  | 230 | 7
Blank3 | 26
CKSTD2_1ppmC | 27
Blank4 | 28
TMP_5.B.4_EXP | 29 | dilution correction |  | 230 | 7
TMP_100.A.5_EXP | 30 | dilution correction |  | 230 | 7
TMP_5.B.6_EXP | 31 | dilution correction |  | 230 | 7
TMP_0.B.4_EXP | 32 | dilution correction |  | 230 | 7
TMP_25.C.1_EXP | 33 | dilution correction |  | 230 | 7
TMP_01.B.2_EXP | 34 | dilution correction |  | 230 | 7
TMP_01.A.4_EXP | 35 | dilution correction |  | 230 | 7
TMP_100.A.1_EXP | 36 | dilution correction |  | 230 | 7
TMP_25.A.1_EXP | 37 | dilution correction |  | 230 | 7
TMP_01.A.2_EXP | 38 | dilution correction |  | 230 | 7
Blank5 | 39
CKSTD3_1ppmC | 40
Blank6 | 41
TMP_01.B.4_EXP | 42 | dilution correction |  | 230 | 7
TMP_100.B.1_EXP | 43 | dilution correction |  | 230 | 7
TMP_BLK3_EXP | 44 | dilution correction |  | 230 | 7
TMP_01.C.2_EXP | 45 | dilution correction |  | 230 | 7
TMP_01.C.4_EXP | 46 | dilution correction |  | 230 | 7
TMP_100.C.1_EXP | 47 | dilution correction |  | 230 | 7
TMP_01.B.5_EXP | 48 | dilution correction |  | 230 | 7
TMP_5.B.1_EXP | 49 | dilution correction |  | 230 | 7
TMP_01.C.3_EXP | 50 | dilution correction |  | 230 | 7
TMP_25.B.2_EXP | 51 | dilution correction |  | 230 | 7
Blank7 | 52
CKSTD4_1ppmC | 53
Blank8 | 54
TMP_01.C.5_EXP | 55 | dilution correction |  | 230 | 7
TMP_5.A.1_EXP | 56 | dilution correction |  | 230 | 7
TMP_01.A.3_EXP | 57 | dilution correction |  | 230 | 7
TMP_25.C.2_EXP | 58 | dilution correction |  | 230 | 7
TMP_01.A.5_EXP | 59 | dilution correction |  | 230 | 7
TMP_5.C.1_EXP | 60 | dilution correction |  | 230 | 7
TMP_01.B.3_EXP | 61 | dilution correction |  | 230 | 7
TMP_25.A.2_EXP | 62 | dilution correction |  | 230 | 7
TMP_100.C.4_EXP | 63 | dilution correction |  | 230 | 7
TMP_01.B.6_EXP | 64 | dilution correction |  | 230 | 7
Blank9 | 65
CKSTD5_1ppmC | 66
Blank10 | 67
TMP_01.A.1_EXP | 68 | dilution correction |  | 230 | 7
TMP_100.C.2_EXP | 69 | dilution correction |  | 230 | 7
TMP_100.A.4_EXP | 70 | dilution correction |  | 230 | 7
TMP_01.A.6_EXP | 71 | dilution correction |  | 230 | 7
TMP_01.C.1_EXP | 72 | dilution correction |  | 230 | 7
TMP_100.B.2_EXP | 73 | dilution correction |  | 230 | 7
TMP_100.B.4_EXP | 74 | dilution correction |  | 230 | 7
TMP_1.A.4_EXP | 75 | dilution correction |  | 230 | 7
TMP_100.A.2_EXP | 76 | dilution correction | name was incorrect in the instrument but was 100.A.2 in notebook | 230 | 7
TMP_1.C.4_EXP | 77 | dilution correction |  | 230 | 7
Blank11 | 78
CKSTD6_1ppmC | 79
Blank12 | 80
TMP_0.A.2_EXP | 81 | dilution correction |  | 230 | 7
TMP_01.B.1_EXP | 82 | dilution correction |  | 230 | 7
Blank13 | 83
CKSTD7_1ppmC | 84
Blank14 | 85