## Sheet1
Sample Name | Vial | Action | Notes | Sample wt | Total Vol:
CKSTD_0.5ppmC | 81 |  | GENERAL NOTE: checks, blanks, peaks looked good. Curve looked good, some shouldering in lower points, more info in notes.
CKSTD_0.5ppmC | 82
CKSTD_0.5ppmC | 83
CondBlank1 | 1
CondBlank2 | 2
CondBlank3 | 3
CondBlank4 | 84
CKSTD_0.5ppm | 85
CKSTD_0.5ppm | 86
CondBlank5 | 87
CondBlank6 | 88
STD_0-5ppmNPOC | 4, 5, 6, 7, 8, 9, 10 | Omit | Did not use curve, didn't go high enough
Blank1 | 13 |  | NPOC: 0.1420 mg/L
CKSTD1_1ppmC | 14 |  | NPOC: 1.178 mg/L
Blank2 | 15 |  | NPOC: 0.2248 mg/L
TMP_O.A.1_EXP | 16 |  |  | 230 | 7
TMP_O.C.3_EXP | 17 |  |  | 230
TMP_1.A.2_EXP | 18 |  |  | 230
TMP_1.A.1_EXP | 19 |  |  | 230
TMP_5.C.2_EXP | 20 |  |  | 230
TMP_0.C.1_EXP | 21 |  |  | 230
TMP_0.A.3_EXP | 22 |  |  | 230
TMP_1.B.2_EXP | 23 |  |  | 230
TMP_1.B.1_EXP | 24 |  |  | 230
TMP_5.B.2_EXP | 25 |  |  | 230
Blank3 | 26
CKSTD2_1ppmC | 27
Blank4 | 28
TMP_0.B.1_EXP | 29 |  |  | 230
TMP_0.B.3_EXP | 30 |  |  | 230
TMP_1.C.2_EXP | 31 |  |  | 230
TMP_1.C.1_EXP | 32 |  |  | 230
TMP_5.A.2_EXP | 33 |  |  | 230
TMP_25.A.5_EXP | 34 |  |  | 230
TMP_100.B.3_EXP | 35 |  |  | 230
TMP_0.B.5_EXP | 36 |  |  | 230
TMP_25.B.6_EXP | 37 |  |  | 230
TMP_1.A.5_EXP | 38 |  |  | 230
Blank5 | 39
CKSTD3_1ppmC | 40
Blank6 | 41
TMP_25.B.5_EXP | 42 |  |  | 230
TMP_100.C.3_EXP | 43 |  |  | 230
TMP_0.C.5_EXP | 44 |  |  | 230
TMP_25.C.6_EXP | 45 |  |  | 230
TMP_1.B.5_EXP | 46 |  |  | 230
TMP_25.C.5_EXP | 47 |  |  | 230
TMP_100.A.3_EXP | 48 |  |  | 230
TMP_0.A.5_EXP | 49 |  |  | 230
TMP_25.A.6_EXP | 50 |  |  | 230
TMP_1.C.5_EXP | 51 |  |  | 230
Blank7 | 52
CKSTD4_1ppmC | 53
Blank8 | 54
TMP_25.B.3_EXP | 55 |  |  | 230
TMP_Blk2_EXP | 56 |  |  | 230
TMP_5.C.5_EXP | 57 |  |  | 230
TMP_25.B.4_EXP | 58 |  |  | 230
TMP_5.C.3_EXP | 59 |  |  | 230
TMP_25.C.3_EXP | 60 |  |  | 230
TMP_5.B.5_EXP | 61 |  |  | 230
TMP_25.A.4_EXP | 62 |  |  | 230
TMP_5.A.3_EXP | 63 |  |  | 230
TMP_25.A.3_EXP | 64 |  |  | 230
Blank9 | 65
CKSTD5_1ppmC | 66
Blank10 | 67
TMP_5.A.5_EXP | 68 |  |  | 230
TMP_1.A.3_EXP | 69 |  |  | 230
TMP_1.A.6_EXP | 70 |  |  | 230
TMP_5.B.3_EXP | 71 |  |  | 230
TMP_1.C.3_EXP | 72 |  |  | 230
TMP_1.B.6_EXP | 73 |  |  | 230
TMP_100.B.6_EXP | 74 |  |  | 400
TMP_1.B.3_EXP | 75 |  |  | 230
TMP_100.A.6_EXP | 76 |  |  | 230
TMP_Blk1_EXP | 77 |  |  | 230
Blank11 | 78
CKSTD6_1ppmC | 79
Blank12 | 14
Blank13 | 1
STD_0-50ppmNPOC | 2, 3, 4, 5, 6, 7, 8, 9, 10 |  | Labeled at 0-10PPM in the instrument curve file name. Slope: 3.457, Int: 0.1588, R2: 1.0000, 0.25ppm and 0.5ppm pt had shouldering but peak areas and rest of curve looked good so retained points
Blank14 | 11
CKSTD7_1ppmC | 12
Blank14 | 13