## Sheet1
Sample Name | Vial | Action | Sample wt | Total vol | Notes
CondBlank1 | 1 |  |  |  | GENERAL NOTE: 'Multiple injections' was not checked for the NPOC curve - 2 injections were used for some cal points instead of 3 (see notes). The run was stopped after the NPOC curve and multiple injections was checked for the rest of the run before it was resumed. All peaks, checks, blanks good unless otherwise noted in notes column.
CondBlank2 | 2
CondBlank3 | 3
STD_0-50ppmNPOC | 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14 |  |  |  | 1ppm, 10ppm, 50ppm - used 2 injections for these cal points. With this manual exclusion, the cal curve is okay (slope = 3.463, intercept = -0.00005, r^2 = 0.9998)
STD_0-10ppmTN | 15, 16, 17, 18, 19, 20, 21 |  |  |  | Cal curve OK. Slope = 10.13, intercept = -0.1635, r^2 = 0.9999
Blank1 | 22 |  |  |  | NPOC:0.1828mg/L TN:0.1078mg/L
CKSTD1_1ppmNPOC | 23 |  |  |  | NPOC:1.133mg/L TN:0.08114mg/L
CKSTD2_1ppmTN | 24 |  |  |  | NPOC:0.1726mg/L TN:1.032mg/L
Blank2 | 25 |  |  |  | NPOC:0.1385mg/L TN:0.05113mg/L
TMP_IS_1_A | 26
TMP_IS_1_B | 27
TMP_IS_1_C | 28
TMP_IS_2_A | 29
TMP_IS_2_B | 30
TMP_IS_2_C | 31
TMP_IS_3_A | 32
TMP_IS_3_B | 33
TMP_IS_3_C | 34
Blank3 | 35 |  |  |  | NPOC:0.1359mg/L TN:0.08098mg/L
CKSTD3_1ppmNPOC | 36 |  |  |  | NPOC:1.168mg/L TN:0.05633mg/L
CKSTD4_1ppmTN | 37 |  |  |  | NPOC:0.2271mg/L TN:1.059mg/L
Blank4 | 38 |  |  |  | NPOC:0.1618mg/L TN:0.1105mg/L
TMP_IS_4_A | 39
TMP_IS_4_B | 40
TMP_IS_4_C | 41
TMP_IS_5_A | 42
TMP_IS_5_B | 43
TMP_IS_5_C | 44
TMP_IS_6_A | 45
TMP_IS_6_B | 46
TMP_IS_6_C | 47
Blank5 | 48 |  |  |  | NPOC:0.1514mg/L TN:0.05087mg/L
CKSTD5_1ppmNPOC | 49 |  |  |  | NPOC:1.090mg/L TN:0.05560mg/L
CKSTD6_1ppmTN | 50 |  |  |  | NPOC:0.1669mg/L TN:0.9987mg/L
Blank6 | 51 |  |  |  | NPOC:0.1267mg/L TN:0.05607mg/L
TMP_IS_7_A | 52
TMP_IS_7_B | 53
TMP_IS_7_C | 54
TMP_IS_8_A | 55
TMP_IS_8_B | 56
TMP_IS_8_C | 57
TMP_IS_9_A | 58
TMP_IS_9_B | 59
TMP_IS_9_C | 60
Blank7 | 61 |  |  |  | NPOC:0.1514mg/L TN:0.05087mg/L
CKSTD7_1ppmNPOC | 62 |  |  |  | NPOC:1.090mg/L TN:0.05560mg/L
CKSTD8_1ppmTN | 63 |  |  |  | NPOC:0.1669mg/L TN:0.9987mg/L
Blank8 | 64 |  |  |  | NPOC:0.1267mg/L TN:0.05607mg/L
TMP_IS_10_A | 65
TMP_IS_10_B | 66
TMP_IS_10_C | 67
TMP_IS_11_A | 68
TMP_IS_11_B | 69
TMP_IS_11_C | 70
TMP_IS_12_A | 71
TMP_IS_12_B | 72
TMP_IS_12_C | 73
Blank9 | 74 |  |  |  | NPOC:0.1535mg/L TN:0.02823mg/L
CKSTD9_1ppmNPOC | 75 |  |  |  | NPOC:1.153mg/L TN:0.06882mg/L
CKSTD10_1ppmTN | 76 |  |  |  | NPOC:0.1709mg/L TN:1.053mg/L
Blank10 | 77 |  |  |  | NPOC:0.1346mg/L TN:0.05433mg/L
TMP_IS_13_A | 78
TMP_IS_13_B | 79
TMP_IS_13_C | 80
TMP_IS_14_A | 81
TMP_IS_14_B | 82
TMP_IS_14_C | 83
TMP_IS_15_A | 84 |  |  |  | First and last peaks were excluded due to being significantly higher/lower than the other two peaks.
TMP_IS_15_B | 85
TMP_IS_15_C | 86
Blank11 | 87 |  |  |  | NPOC:0.1376mg/L TN:0.03500mg/L
CKSTD11_1ppmNPOC | 88 |  |  |  | NPOC:1.050mg/L TN:0.03008mg/L
CKSTD12_1ppmTN | 89 |  |  |  | NPOC:0.1053mg/L TN:0.9933mg/L
Blank12 | 90 |  |  |  | NPOC:0.1561mg/L TN:0.05587mg/L
TMP_IS_16_A | 1
TMP_IS_16_B | 2
TMP_IS_16_C | 3
TMP_IS_17_A | 4
TMP_IS_17_B | 5
TMP_IS_17_C | 6
TMP_IS_18_A | 7
TMP_IS_18_B | 8
TMP_IS_18_C | 9
Blank13 | 10 |  |  |  | NPOC:0.1970mg/L TN:0.04002mg/L
CKSTD13_1ppmNPOC | 11 |  |  |  | NPOC:1.093mg/L TN:0.03178mg/L
CKSTD14_1ppmTN | 12 |  |  |  | NPOC:0.1536mg/L TN:0.9951mg/L
Blank14 | 13 |  |  |  | NPOC:0.07087mg/L TN:0.02449mg/L