## Sheet1
Sample Name | Vial | Action | Sample wt | Total vol | Notes
CondBlank1 | 1 |  |  |  | GENERAL NOTE: Peak sizes were not consistent between injections for highr DOC conc samples (> 20 mg/L; see notes). All peaks, checks, blanks good unless otherwise noted in notes column.
CondBlank2 | 2
CondBlank3 | 3
STD_0-50ppmNPOC | 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14 |  |  |  | Cal curve OK. Slope = 3.494, intercept = -0.1260, r^2 = 0.9999
STD_0-10ppmTN | 15, 16, 17, 18, 19, 20, 21 |  |  |  | Cal curve OK. Slope = 9.999, intercept = -0.4113, r^2 = 0.9998
Blank1 | 22 |  |  |  | NPOC:0.1820mg/L TN:0.05502mg/L
CKSTD1_1ppmNPOC | 23 |  |  |  | NPOC:1.159mg/L TN:0.09705mg/L
CKSTD2_1ppmTN | 24 |  |  |  | NPOC:0.1740mg/L TN:1.053mg/L
Blank2 | 25 |  |  |  | NPOC:0.1720mg/L TN:0.05652mg/L
TMP_IS_19_A | 26
TMP_IS_19_B | 27
TMP_IS_19_C | 28
TMP_IS_20_A | 29
TMP_IS_20_B | 30
TMP_IS_20_C | 31
TMP_IS_21_A | 32
TMP_IS_21_B | 33
TMP_IS_21_C | 34
Blank3 | 35 |  |  |  | NPOC:0.1982mg/L TN:0.08806mg/L
CKSTD3_1ppmNPOC | 36 |  |  |  | NPOC:1.092mg/L TN:0.07620mg/L
CKSTD4_1ppmTN | 37 |  |  |  | NPOC:0.2164mg/L TN:1.003mg/L
Blank4 | 38 |  |  |  | NPOC:0.1809mg/L TN:0.05314mg/L
TMP_IS_22_A | 39
TMP_IS_22_B | 40
TMP_IS_22_C | 41
TMP_IS_23_A | 42
TMP_IS_23_B | 43
TMP_IS_23_C | 44
TMP_IS_24_A | 45
TMP_IS_24_B | 46
TMP_IS_24_C | 47
Blank5 | 48 |  |  |  | NPOC:0.2434mg/L TN:0.05198mg/L
CKSTD5_1ppmNPOC | 49 |  |  |  | NPOC:1.126mg/L TN:0.05103mg/L
CKSTD6_1ppmTN | 50 |  |  |  | NPOC:0.1412mg/L TN:0.9741mg/L
Blank6 | 51 |  |  |  | NPOC:0.1880mg/L TN:0.05069mg/L
TMP_IS_25_A | 52 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_25_B | 53 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_25_C | 54 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_26_A | 55 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_26_B | 56 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_26_C | 57 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_27_A | 58
TMP_IS_27_B | 59
TMP_IS_27_C | 60
Blank7 | 61 |  |  |  | NPOC:0.1504mg/L TN:0.04613mg/L
CKSTD7_1ppmNPOC | 62 |  |  |  | NPOC:1.103mg/L TN:0.07178mg/L
CKSTD8_1ppmTN | 63 |  |  |  | NPOC:0.1691mg/L TN:0.9651mg/L
Blank8 | 64 |  |  |  | NPOC:0.1522mg/L TN:0.05866mg/L
TMP_IS_28_A | 65
TMP_IS_28_B | 66
TMP_IS_28_C | 67
TMP_IS_29_A | 68
TMP_IS_29_B | 69
TMP_IS_29_C | 70
TMP_IS_30_A | 71
TMP_IS_30_B | 72
TMP_IS_30_C | 73
Blank9 | 74 |  |  |  | NPOC:0.2320mg/L TN:0.05710mg/L
CKSTD9_1ppmNPOC | 75 |  |  |  | NPOC:1.118mg/L TN:0.05675mg/L
CKSTD10_1ppmTN | 76 |  |  |  | NPOC:0.2056mg/L TN:0.9386mg/L
Blank10 | 77 |  |  |  | NPOC:0.1410mg/L TN:0.05231mg/L
TMP_IS_31_A | 78
TMP_IS_31_B | 79
TMP_IS_31_C | 80
TMP_IS_32_A | 81 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_32_B | 82 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_32_C | 83 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_33_A | 84 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_33_B | 85 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_33_C | 86 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
Blank11 | 87 |  |  |  | NPOC:0.2543mg/L TN:0.05326mg/L
CKSTD11_1ppmNPOC | 88 |  |  |  | NPOC:1.129mg/L TN:0.04710mg/L
CKSTD12_1ppmTN | 89 |  |  |  | NPOC:0.1768mg/L TN:0.9112mg/L
Blank12 | 90 |  |  |  | NPOC:0.1994mg/L TN:0.04942mg/L
TMP_IS_34_A | 91 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_34_B | 92 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_34_C | 93 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_35_A | 1
TMP_IS_35_B | 2
TMP_IS_35_C | 3
TMP_IS_36_A | 4
TMP_IS_36_B | 5
TMP_IS_36_C | 6
Blank13 | 7 |  |  |  | NPOC:0.1893mg/L TN:0.06051mg/L
CKSTD13_1ppmNPOC | 8 |  |  |  | NPOC:1.093mg/L TN:0.05575mg/L
CKSTD14_1ppmTN | 9 |  |  |  | NPOC:0.1698mg/L TN:0.9016mg/L
Blank14 | 10 |  |  |  | NPOC:0.1701mg/L TN:0.05344mg/L
TMP_IS_37_A | 11
TMP_IS_37_B | 12
TMP_IS_37_C | 13
TMP_IS_38_A | 14
TMP_IS_38_B | 15
TMP_IS_38_C | 16
TMP_IS_39_A | 17 |  |  |  | NPOC is higher than cal range; Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_39_B | 18 |  |  |  | NPOC is higher than cal range
TMP_IS_39_C | 19 |  |  |  | NPOC is higher than cal range; Last two peaks were excluded due to being significantly lower than the first two peaks.
Blank15 | 20 |  |  |  | NPOC:0.2425mg/L TN:0.05350mg/L
CKSTD15_1ppmNPOC | 21 |  |  |  | NPOC:1.196mg/L TN:0.04263mg/L
CKSTD16_1ppmTN | 22 |  |  |  | NPOC:0.1946mg/L TN:0.9343mg/L
Blank16 | 23 |  |  |  | NPOC:0.2030mg/L TN:0.05543mg/L
TMP_IS_40_A | 24 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_40_B | 25 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_40_C | 26 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_41_A | 27 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_41_B | 28 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_41_C | 29 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_42_A | 30 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_42_B | 31 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
TMP_IS_42_C | 32 |  |  |  | Last two peaks were excluded due to being significantly lower than the first two peaks.
Blank17 | 33 |  |  |  | NPOC:0.1648mg/L TN:0.06206mg/L
CKSTD17_1ppmNPOC | 34 |  |  |  | NPOC:1.174mg/L TN:0.04825mg/L
CKSTD18_1ppmTN | 35 |  |  |  | NPOC:0.1247mg/L TN:0.8587mg/L
Blank18 | 36 |  |  |  | NPOC:0.1581mg/L TN:0.05526mg/L